## Slide 1: WELCOME!
Please download materials from GitHub: https://github.com/marcelaxrivera/ImageJ-immunology-workshop-2025/
Please install Fiji:
https://fiji.sc/

## Slide 2: Marcela Rivera marcela.rivera@abo.fi Imaging in immunology course 2025
Includes materials from Guillaume Jacquemet, Peter Bankhead, Elnaz Fazeli, Joanna Pylvänäinen
28.10.2025
Image analysis using FIJI

## Slide 3: Image analysis in immunology
(Louie, D. A. P., & Liao, S. 2019)
Localization of immune cells
Cross section of human lymph node

## Slide 4: Image analysis in immunology
(Louie, D. A. P., & Liao, S. 2019)
Localization of immune cells
Cross section of human lymph node

## Slide 5: Image analysis in immunology
(Louie, D. A. P., & Liao, S. 2019)
Quantitative measurements:
Total area
Distribution/ Location
color image → grayscale → binary mask → measurement
Localization of immune cells
Cross section of human lymph node

## Slide 6: Image analysis in immunology
Ilkka Paatero
Immune cell trafficking in zebrafish tail

## Slide 7: Image analysis in immunology
Ilkka Paatero
Immune cell trafficking in zebrafish tail

## Slide 8: Image analysis in immunology
Ilkka Paatero
Immune cell trafficking in zebrafish tail
Quantitative measurements:
Displacement how far each cell moved,
Speed how fast they travel,
Directionality how persistent or random their movement is.

## Slide 9: Image analysis in immunology
B-lymphoma cells
phospho-Btk
Nucleus
Saara Hämälistö
Protein quantification in immune cells

## Slide 10: Contents
What is FIJI and where to get it
What is an image
How to view your images in Fiji
Look up tables
Channel management (split and merge, channels tool)
Sub-stacks, projections
How to check that your image has the right dimensions
Line measurement
Basic measurements (area, intensity, shape...)
Segmentation basics
ROIs and particle analysis
Binary operations

## Slide 11: What is Fiji?
“Fiji is an image processing package — a "batteries-included" distribution of ImageJ, bundling many plugins which facilitate scientific image analysis.”
https://fiji.sc/

## Slide 12: Check settings and install more Fiji Plugins
ImageJ was setup to analyse dark particles on white background, still causing issues during workflows. Most analysis these days is of fluorescent particles/organelles on black background. ImageJ needs to know whether to aggregate bright or dark pixels for particle detection!
Process... › binary... › options › “black background”
To enable additional Plugins, choose:
            Help › Update…, then click the “Manage update sites” button.
Please activate the following update sites
      IJPB-plugins
      3D ImageJ suite

## Slide 13: Common steps in image analysis
Image inspection
Filtering
Image measurements
Segmentation and binary operations
image processing
Image analysis
Extraction of useful information from microscopy images

## Slide 14: Image analysis pipelines

## Slide 15: Common steps in image analysis
Image inspection
Filtering
Image measurements
Segmentation and binary operations
image processing
Image analysis
Extraction of useful information from microscopy images

## Slide 16: What is an image?
Original image
Enlarged image
Pixel values from 1-256
Introduction to bioimage analysis by Peter Bankhead
https://bioimagebook.github.io/ CC BY 4.0

## Slide 17: Bit depth
Values from 1-256
2
4
8
16
25
256
65536
Introduction to bioimage analysis by Peter Bankhead
https://bioimagebook.github.io/ CC BY 4.0

## Slide 18: Image dimensionality
Introduction to bioimage analysis by Peter Bankhead
https://bioimagebook.github.io/ CC BY 4.0

## Slide 19: Image dimensionality
Introduction to bioimage analysis by Peter Bankhead
https://bioimagebook.github.io/ CC BY 4.0

## Slide 20: Let’s start exploring!
Open Fiji + image: Image1-composite-calibrated.tif
Pixels and bit depth, channels?
Zoom mouse right click + mouse left click –
Move around zoomed image use the hand tool
Adjust the contrast Image › Adjust › Brightness/Contrast
Channel management Image › Color › Channels Tool...
Split channels Image › Color › Split channels
Sync windows Analyze › Tools › Sync Windows
Open image and inspect

## Slide 21: Look up tables (LUTs)
Try different LUTs Image -> Lookup tables
1 256

## Slide 22: Channel merging
Merge channel
Further edit LUTs
Color blindness simulation
Duplicate: shift + D
Image › Type › RGB Color
Image › Color › Simulate Color Blindness
Image › Color › Merge channels
Image › Lookup tables
https://www.lenstore.co.uk/eyecare/your-guide-colour-blindness

## Slide 23: N-dimensional images
Open sample image
View different channels
Make a subset
Make z-projection
(from original)
Crop image Choose rectangle tool:
draw region of interest
Ctrl + D
File › Open Samples › Mitosis (5D stack)
OR Image7- mitosis
Image › Duplicate... OR Ctrl + D and select wanted frames, channels, planes
Image › Stacks › Z Project...
Original stack
Final image
Isolate one z-plane
Image › Duplicate... OR Ctrl + D
Image › Color › Channels Tool...

## Slide 24: Image calibration
It is important that the image file is handled properly, and the size of the image calibrated, ImageJ doesn’t always read the files properly.
You can see if your image is calibrated from the from the info bar at the top of the image.

## Slide 25: Image calibration
Open image:
Check image properties
Image > Properties
Image1-composite-calibrated.tif
Check that the number of channels, slices and frames match
Check your unit of length and set it to μm (um or micron) or nm
Check your pixel width and height (2D images the voxel depth can be ignored)

## Slide 26: Common steps in image analysis
Image inspection
Filtering
Image measurements
Segmentation and binary operations
image processing
Image analysis
Extraction of useful information from microscopy images

## Slide 27: Image filtering
Filtering can make segmentation much easier by enhancing features and reducing noise
Linear filters replace each pixel by a weighted sum of surrounding pixels (Gaussian, Mean)
Nonlinear filters replace each pixel with the result of another computation using surrounding pixels (Median)

## Slide 28: Linear filter demo
Open
1
1
1
1
1
1
1
1
1
1
2
1
0
0
0
-1
-2
-1
1
1
1
1
-8
1
1
1
1
Sobel edge filter
https://imagej.nih.gov/ij/docs/menus/process.html
Laplacian of Gaussian (LOG)
Image13-blob.tif
Process > Filters > Convolve..
Go to

## Slide 29: Noise reduction
Open image: Image3-nuclei_noisy
Duplicate your image: shift + D
In Fiji: Process › Filters…
Choose a filter to your liking (try more of you want!)
Choose the original image
Choose line tool and draw a line across the desired distance Analyze › Plot Profile
Select your filtered image and go Edit › Selection › Restore selection… And Analyze › Plot Profile

## Slide 30: Correct uneven background
Open image: Image4-TH.tif
Duplicate your image: shift + D
Filters: Process > filters…
Method
Choose line tool and draw a line across the desired distance Analyze › Plot Profile
Subtract background using rolling ball Process > Subtract background..
Choose line tool and draw a line across the desired distance Analyze › Plot Profile

## Slide 31: Common steps in image analysis
Image inspection
Filtering
Image measurements
Segmentation and binary operations
image processing
Image analysis
Extraction of useful information from microscopy images

## Slide 32: Line measurement
To measure a distance in ImageJ, you can use the straight-line tool. Make sure that your image is correctly calibrated first.
Open image Image5-nuclei-high-contrast
Select the straight-line tool:
Draw a line across the desired distance
Read the length of the line below to ImageJ toolbar. You can also read the last coordinate of the line as well as the angle from the same place. To print the length, press m (measure)
To analyze the line profile: Analyze › Plot Profile
Try hitting live button, you can anow move the line
To print the line profile press

## Slide 33: Basic measurements
Select measurements Analyze › Set Measurements...
Size - area, centroid, perimeter, Feret & “shape descriptors” (Circularity, Aspect Ratio, Roundness, Solidity)
Content - (gray values): mean, stdDev, minMax, mode…

## Slide 34: Intensity measurements
Set the following measurements: Analyze › Set Measurements...
                - Area
                - Shape descriptors
                - Mean gray value
                Open images: Image5-nuclei-high-contrast and Image6-nuclei-low-contrast
                Select images and measure one by one Analyze › Measure (or ctrlM)
What can you say about the results?

## Slide 35: Common steps in image analysis
Image inspection
Filtering
Image measurements
Segmentation and binary operations
image processing
Image analysis
Extraction of useful information from microscopy images

## Slide 36: Segmentation
Image segmentation is the classification of pixels in an image as “pixels of interest” vs “background”
Separating a digital image into multiple segments.
Histogram based thresholding is the most common method to segment.
  -> results in a binarized image
histogram
foreground
background

## Slide 37: Manual thresholding vs. auto-thresholding
Manual methods have several limitations:
high user bias
no/low reproducibility
tedious and time-consuming fiddling-around
finding an "appropriate" cut-off value
incompatibility with automatic processing
high intra- and inter-user variability
Benefits of Automated Segmentation
no user bias during thresholding (algorithm selection bias?)
fully reproducible (on the same image they will always
lead to the same binarization result)
objectively determined cut-off values to minimize some variability in images being compared
they are fast (no fiddling) and can be automated
histogram

## Slide 38: Global / local thresholding
Global thresholding
Chooses a general cut-off value for the whole image
Works well if all portions of the image have same quality, signal to noise/background, and all particles/objects have similar signal levels.
Local thresholding
Computed for each pixel according to the image characteristics within a window of radius r around it
Uchida et al. (2013).
CC BY 2.5

## Slide 39: Segmentation
Which segmentation should I use? Try!
Open image: Image8-nuclei-high-contrast-crop
Image › Adjust › Threshold…
More information about global thresholding methods:
http://imagej.net/Auto_Threshold#Available_methods
Apply a threshold on your image: Image › Adjust › Threshold.. Choose your favorite
-> results a binarized image

## Slide 40: Binary operations
image15_nuclei-low-contrast-binary
Process › Binary › Watershed
Dilate / Erode / Open / Close
Opening consists of an erosion followed by a dilation.
Closing consists of dilation followed by an erosion

## Slide 41
0
0, 1, 2, 3……. XX
0
255
255
Connected component labeling
Open image image16_nuclei-low-contrast-binary_watershed
Duplicate: shift + D
Plugins › MorphoLibJ › Binary Images › Connected Components Labeling
Learn more about MopholibJ here: https://imagej.net/plugins/morpholibj
Binary Segmentation

## Slide 42: ROIs and particle analysis
Manual selections (=ROIs) are a (slow and biased) way to confine the measurements to organelles/compartments
In ImageJ/FIJI “particle analysis” is a technique to group adjacent pixels in individual ROIs that can then measured automatically as individual “objects” (connected component analysis)

## Slide 43: Analyze particles
Open image Image5-nuclei-high-contrast
Dublicate image shift + D
Set the following measurements:
Select your favourite threshold Image › Adjust › Threshold...
Analyze particles Analyze › Analyze Particles...
Analyze › Set Measurements...
  Area
  Shape descriptors
  Mean gray value
  Redirect to other channel

## Slide 44: Exercise 1 – 3D analysis
Open images:
Image10-Blymphoma_activated_DAPI_pBtkGrey
Image11-Blymphoma_non_activated_DAPI_pBtkGrey
B-lymphoma cells activated
Activation marker pBtk is higher in activated cells
Images Saara Hämälistö
Notes: The goal is to measure an activation marker, pBtk, which should be higher in activated cells.
This exercise will show how segmentation and measurement principles extend into 3D, same logic, but applied across z-stacks.

## Slide 45: Exercise – 3D analysis
Examine by using brightness and contrast
1. Split channels and duplicate, close blue channel Image › Color › Split Channels
2. Pre-processing (filters)
Median 3D 5/5/5 Process › Filters › Median 3D...
Tophat 10 (don’t subtract) Process › Filters › Top Hat...
3. Detection (Threshold)
Mean, stack histogram Image › Adjust › Threshold...
4. Post-processing (binary)
Fill holes Process › Binary › Fill Holes
5. Post-processing (MorpholibJ)
Distance transform watershed 3D Plugins › MorphoLibJ › Binary Images › Distance Transform Watershed 3D
6. ROI management and measurement
Add image in 3D image suite Plugins › 3DSuite › 3D Manager
Select original image, Select all - quantify